Specifications
(1) For clean water:12pm/48Lpm   
    For DI or RO water : 14GPM/56Lpm   
(2) UV germicidal lamp : 39W x 1 
   ( Model:UVC-D842T5 or UVC-S842T5 )   
(3) Ballast : 39W x 1   
(4) Dimension :  Ø 89mm x 900mm   
(5) Voltage : 100V~120V, 220V~240V, 50/60HZ   
(6) Inlet/Outlet size : 3/4" PT   
(7) Max. working pressure : 125PSI   
(8) Chamber/Housing : 304 or 316 stainless steel   
(9) Quartz Sleeve : SQ230895   
(10) Lamp failure warning system:LED+ Alarm   
(11) Lamp average life : 9,000 hours 

Features
. High quality quartz lamp and sleeve keep high output 
 of UV emit. 
. Quick and simple installation 
. Long service life saves your money. 
. Polished stainless steel reactor chambers strong 
 the UV reflection. 
. Visual LED display indicator for lamp failure 
. The most natural way to protects your water safely 
. Easy lamp replacement and maintenance 
. Wide application, able to be used in various water 
 treatment areas 
. Neither add any chemical complexes nor change the 
 taste and odor of the water, it will not remove any 
 beneficial minerals in the water. 
. It is able to kill 99.9% destruction of bacteria and 
 virus under the standard water quality and flow.