MINI outdoor PTZ

speed DOME camera PAL D662-81009

Sensor; 1/4" Interline Transfer CCD. Resolution; 500 TV lines color / 570 TV lines BW. Resolution (pixels); 795 x 596. Zoom; 10 x optical, 10 x digital. Lens; 3.8 mm ~ 38 mm. Minimum illumination; 0.7 Lux color / 0.02 Lux BW. White balance; ATW, AWC, MANUAL. S/N ratio; 50 dB (AGC off). Function SensUp; YES. SSNR; YES. Synchronization; Internal. PTZ; horizontal: 360° vertical: 180° (Autoflip), 95° (normal). PTZ speed; 0.05° / s ~ 360° / s. Preset; 127. Pattern; 4 pattern, 1200 commands / pattern. Groups; 8 groups. Protocol; Pelco D / Pelco P. Private zone; 4 zones. OSD menu; YES. Power; DC 12 V / 0.8 A - Power supply is included.. Dimensions; Ø 115 x 148 mm. Weight; cca 1 kg. Working temperature; -10 °C ~ 50 °C.